PWS ID # NJ1532002

Annual Drinking Water Quality Report

The Tuckerton Borough Water Department

Report for the Year 2026, Results from the Year 2025
The following is this year's Annual Drinking Water Quality Report. This report is designed to inform you about the water and services we deliver to you every day.
Our water source: We are committed to ensuring the quality of your water.  Our two wells draw groundwater from the Atlantic City 800 Foot Sand Aquifer.  The New Jersey Department of Environmental Protection (NJDEP) is in the process of updating the Source Water Assessment Report for this public water system, which will be available at http://www.nj.gov/dep/watersupply/swap/assessments.htm or by contacting NJDEP’s Bureau of Safe Drinking Water at (609) 292-5550.  You may also contact your public water system to obtain information regarding your water system’s Source Water Assessment. 
If you are a landlord, you must distribute this Drinking Water Quality Report to every tenant as soon as practicable, but no later than three business days after receipt. Delivery must be made by hand, mail, or email, and by posting the information in a prominent location at the entrance of each rental premises, pursuant to section #3 of NJ P.L. 2021, c.82 (C.58:12A-12.4 et seq.).

For additional information: If you have any questions about this report or concerning your water utility, please contact Mike Baker 609-296-9222.  We want our valued customers to be informed about their water utility. If you want to learn more, please attend any of our regularly scheduled Borough Council meetings at Borough Hall, 140 East Main Street.  Meetings are held on the first and third Mondays of each month at 7:00 p.m.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised people such as people with cancer undergoing chemotherapy, people who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791). 
	Table of Detections

	Contaminant
	Violation

Y/N
	Level 

Detected
	Units of

Measurement
	MCLG
	MCL
	Likely Source

	Radioactive Contaminants:

	Combined Radium
228 & 226
Test results Yr. 2024
	N
	1.5
	PCi/1
	0
	15
	Erosion of natural deposits

	Inorganic Contaminants:

	Barium
Test results Yr. 2024
	N
	0.007
	Ppm
	2
	2
	Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits

	Copper

Test results Yr. 2025
Result at 90th Percentile
	N
	0.022
No samples exceeded the action level.
	Ppm
	   1.3
	  AL=

  1.3
	Corrosion of household plumbing systems; erosion of natural deposits

	Fluoride

Test results Yr. 2024
	N
	0.11
	Ppm
	4
	4
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories

	Lead

Test results Yr. 2025
Result at 90th Percentile
	N
	3.61
No samples exceeded the action level.
	Ppb
	0
	AL=15
	Corrosion of household plumbing systems, erosion of natural deposits

	Mercury (inorganic)
Test results Yr. 2024
	N
	0.23
	Ppb
	2
	2
	Erosion of natural deposits; discharge from refineries and factories; runoff from landfills; runoff from cropland

	Disinfection Byproducts:

	      TTHM                    

      Total Trihalomethanes

      Test results Yr. 2025
	N
	Range = 10.4 – 12.2
Highest detect = 12.2
	Ppb
	N/A
	80
	By-product of drinking water disinfection

	      HAA5                      
      Haloacetic Acids
      Test results Yr. 2025
	N
	Range = 3.4 – 4.2
Highest detect = 4.2
	Ppb
	N/A
	60
	By-product of drinking water disinfection

	Regulated Disinfectants
	         Level Detected
	MRDL
	MRDLG

	Chlorine
Test results Yr. 2025
	Range = 0.7 – 1.1 Ppm

Average = 0.8 Ppm
	4.0 Ppm
	4.0 Ppm


Chlorine: Water additive used to control microbes
The Tuckerton Borough Water Department routinely monitors for contaminants in your drinking water according to Federal and State laws. This table shows the results of our monitoring for the period of January 1st to December 31st, 2025.  The state allows us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of our data, though representative, is more than one year old.

Potential Sources of contamination:  
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:
· Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals which can be naturally occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas projection, mining, or farming.

· Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals which are byproducts of industrial processes and petroleum production and can come from gas stations, urban storm water runoff, and septic systems.

· Radioactive Contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  Food and Drug Administration regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain a small amount of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency's Safe Drinking Water Hotline at 1-800-426-4791.

Sources of Lead in Drinking Water

The Tuckerton Borough Water Department is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components.  Although most lead exposure occurs from inhaling dust or from contaminated soil, or when children eat paint chips, the U.S. Environmental Protection Agency (USEPA) estimates that 10 to 20 percent of human exposure to lead may come from lead in drinking water. Infants who consume mostly mixed formula can receive 40 percent to 60 percent of their exposure to lead from drinking water. Lead is rarely found in the source of your drinking water but enters tap water through corrosion, or wearing away, of materials containing lead in the water distribution system and household plumbing materials. These materials include lead-based solder used to join copper pipes, brass, and chrome-brass faucets, and in some cases, service lines made of or lined with lead.  New brass faucets, fittings, and valves, including those advertised as “lead-free”, may still contain a small percentage of lead, and contribute lead to drinking water. The law currently allows end-use brass fixtures, such as faucets, with up to 0.25 percent lead to be labeled as “lead free”. However, prior to January 4, 2014, “lead free” allowed up to 8 percent lead content of the wetted surfaces of plumbing products including those labeled National Sanitation Foundation (NSF) certified. Visit the NSF website at www.nsf.org to learn more about lead-containing plumbing fixtures. Consumers should be aware of this when choosing fixtures and take appropriate precautions. When water stands in lead service lines, lead pipes, or plumbing systems containing lead for several hours or more, the lead may dissolve into your drinking water. This means the first water drawn from the tap in the morning, or later in the afternoon if the water has not been used all day, can contain fairly high levels of lead.

Steps You Can Take to Reduce Exposure to Lead in Drinking Water
For a full list of steps visit: https://www.state.nj.us/dep/watersupply/dwc-lead-consumer.html
Run the cold water to flush out lead.  Let the water run from the tap before using it for drinking or cooking any time the water in the faucet has gone unused for more than six hours. The longer the water resides in plumbing the more lead it may contain. Flushing the tap means running the cold-water faucet. Let the water run from the cold-water tap based on the length of the lead service line and the plumbing configuration in your home. In other words, the larger the home or building and the greater the distance to the water main (in the street), the more water it will take to flush properly. Although toilet flushing or showering flushes water through a portion of the plumbing system, you still need to flush the water in each faucet before using it for drinking or cooking. Flushing tap water is a simple and inexpensive measure you can take to protect your health. It usually uses less than one gallon of water. 

Use cold, flushed water for cooking and preparing baby formula. Because lead from lead-containing plumbing materials and pipes can dissolve into hot water more easily than cold water, never drink, cook, or prepare beverages including baby formula using hot water from the tap. If you have not had your water sampled or if you know, it is recommended that bottled or filtered water be used for drinking and preparing baby formula. If you need hot water, draw water from the cold tap and then heat it.

Do not boil water to remove lead. Boiling water will not reduce lead; however, it is still safe to wash dishes and do laundry. Lead will not soak into dishware or most clothes.

Use alternative sources or treatment of water. You may want to consider purchasing bottled water or a water filter. Read the package to be sure the filter is approved to reduce lead or contact NSF International at 800-NSF-8010 or www.nsf.org for information on performance standards for water filters.

Determine if you have interior lead plumbing or solder. If your home/building was constructed prior to 1987, it is important to determine if interior lead solder or lead pipes are present. You can check yourself, hire a licensed plumber, or check with your landlord.
Replace plumbing fixtures and service lines containing lead. Replace brass faucets, fittings, and valves that do not meet the current definition of “lead free” from 2014 (as explained above). Visit the NSF website at www.nsf.org to learn more about lead-containing plumbing fixtures. 

Remove and clean aerators/screens on plumbing fixtures. Over time, particles and sediment can collect in the aerator screen. Regularly remove and clean aerators screens located at the tip of faucets and remove any particles.
Test your water for lead.  Please call 609-296-9222 to find out how to get your water tested for lead. Testing is essential because you cannot see, taste, or smell lead in drinking water. 

Get your child tested. Contact your local health department or healthcare provider to find out how you can get your child tested for lead if you are concerned about lead exposure.  New Jersey law requires that children be tested for lead in their blood at both 1 and 2 years of age and before they are 6 years old if they have never been tested before or if they have been exposed to a known source of lead. 
Have an electrician check your wiring. If grounding wires from the electrical system are attached to your pipes, corrosion may be greater. Check with a licensed electrician or your local electrical code to determine if your wiring can be grounded elsewhere. DO NOT attempt to change the wiring yourself because improper grounding can cause electrical shock and fire hazards.

Water softeners and reverse osmosis units will remove lead from water but can also make the water more corrosive to lead solder and plumbing by removing certain minerals; therefore, the installation of these treatment units at the point of entry into homes with lead plumbing should only be done under supervision of a qualified water treatment professional.
Health Effects of Lead 

Lead can cause serious health problems if too much enters your body from drinking water or other sources. It can cause damage to the brain and kidneys and can interfere with the production of red blood cells that carry oxygen to all parts of your body. The greatest risk of lead exposure is to infants, young children, and pregnant women. Scientists have linked the effects of lead on the brain with lowered IQ in children. Adults with kidney problems and high blood pressure can be affected by low levels of lead more than healthy adults.  Lead is stored in the bones, and it can be released later in life. During pregnancy, the child receives lead from the mother’s bones, which may affect brain development. Contact your local health department or healthcare provider to find out how you can get your child tested for lead if you are concerned about lead exposure. You can find out more about how to get your child tested and how to pay for it at https://www.state.nj.us/health/childhoodlead/testing.shtml. 

In July 2021, P.L.2021, Ch.183 (Law) was enacted, requiring all community water systems to replace lead service lines in their service area within 10 years. Under the law, the Tuckerton Borough Water Department is required to notify customers, non-paying consumers, and any off-site owner of a property (e.g., landlord) when it is known they are served by a lead service line*. Our service line inventory is available upon request.

Definitions:

In the “Table of Detections” you may find some terms and abbreviations you might not be familiar with. To help you better understand these terms we've provided the following definitions:

Non-Detects (ND) - laboratory analysis indicates that the constituent is not present.

Parts per million (ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000. 

Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

Action Level - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Maximum Contaminant Level - The "Maximum Allowed" (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal -The "Goal"(MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG) - The level of a drinking water disinfectant, below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination.

Waivers: The Safe Drinking Water Act regulations allow monitoring waivers to reduce or eliminate the monitoring requirements for asbestos, volatile organic chemicals and synthetic organic chemicals. Our system received a monitoring waiver for synthetic organic chemicals. 
Tuckerton Borough Water Department-PWSID #NJ1532002
Tuckerton Borough Water Department is a public community water system consisting of 2 active wells.

This system’s source water comes from the following aquifers: Atlantic City "800-foot" Sand Aquifer System, Kirkwood-Cohansey Water-Table Aquifer System.

This system can purchase water from the following water systems: Little Egg Harbor MUA

Susceptibility Ratings for Tuckerton Borough Water Department Sources

The table below illustrates the susceptibility ratings for the seven contaminant categories (and radon) for each source in the system.  The table provides the number of wells and intakes that rated high (H), medium (M), or low (L) for each contaminant category.  For susceptibility ratings of purchased water, refer to the specific water system’s source water assessment report.

The seven contaminant categories are defined at the bottom of this page.  DEP considered all surface water highly susceptible to pathogens, therefore all intakes received a high rating for the pathogen category.  For the purpose of Source Water Assessment Program, radionuclides are more of a concern for ground water than surface water.  As a result, surface water intakes’ susceptibility to radionuclides was not determined and they all received a low rating.

If a system is rated highly susceptible for a contaminant category, it does not mean a customer is or will be consuming contaminated drinking water.  The rating reflects the potential for contamination of source water, not the existence of contamination. Public water systems are required to monitor for regulated contaminants and to install treatment if any contaminants are detected at frequencies and concentrations above allowable levels.  As a result of the assessments, DEP may customize (change existing) monitoring schedules based on the susceptibility ratings.

	
	Pathogens
	Nutrients
	Pesticides
	Volatile
Organic
Compounds
	Inorganics
	Radionuclides
	Radon
	Disinfection
Byproduct
Precursors

	Sources
	H
	M
	L
	H
	M
	L
	H
	M
	L
	H
	M
	L
	H
	M
	L
	H
	M
	L
	H
	M
	L
	H
	M
	L

	Wells - 2
	
	
	2
	
	
	2
	
	
	2
	
	
	2
	
	1
	1
	
	
	2
	
	
	2
	
	
	2


Pathogens: Disease-causing organisms such as bacteria and viruses.  Common sources are animal and human fecal wastes.

Nutrients: Compounds, minerals and elements that aid growth, that are both naturally occurring and man-made.  Examples include nitrogen and phosphorus.

Volatile Organic Compounds: Man-made chemicals used as solvents, degreasers, and gasoline components.  Examples include benzene, methyl tertiary butyl ether (MTBE), and vinyl chloride.

Pesticides: Man-made chemicals used to control pests, weeds and fungus.  Common sources include land application and manufacturing centers of pesticides.  Examples include herbicides such as atrazine, and insecticides such as chlordane.

Inorganics: Mineral-based compounds that are both naturally occurring and man-made.  Examples include arsenic, asbestos, copper, lead, and nitrate.

Radionuclides: Radioactive substances that are both naturally occurring and man-made.  Examples include radium and uranium.

Radon: Colorless, odorless, cancer-causing gas that occurs naturally in the environment.  For more information go to http://www.nj.gov/dep/rpp/radon/index.htm or call (800) 648-0394.

Disinfection Byproduct Precursors: A common source is naturally occurring organic matter in surface water.  Disinfection byproducts are formed when the disinfectants (usually chlorine) used to kill pathogens react with dissolved organic material (for example leaves) present in surface water.

IMPORTANT INFORMATION ABOUT OUR DRINKING WATER
Availability of Unregulated Contaminant Monitoring Data for the Borough Tuckerton Water Department

Our water system sampled a series of unregulated contaminants in 2025 and we had no detections. Unregulated contaminants are those that don't yet have a drinking water standard set by EPA. The purpose of monitoring for these contaminants is to help EPA decide whether the contaminants should have a standard. As our customers, you have a right to know that this data is available upon request.

Reporting violations for the Borough of Tuckerton Water Department
#11036 & #11037
What happened?  We are required to monitor pH at the point of entry to the drinking water distribution system biweekly. 
PH is the measure of the acidity or basicity of a liquid. Pure water, which is neutral (neither acidic nor alkaline), has a pH of 7.  A liquid with a pH less than 7 is considered acidic; a liquid with a pH greater than 7 is considered basic, or alkaline.

We monitor the pH daily and submit a monthly report of this data to The Bureau of Safe Drinking Water. They review this data in two 6-month compliance periods each year, January 1st-June 30th, and July 1st-December 31st. 

During the second half of the year 2024, while all testing was completed, one or more of the monthly reports were not received on time. This happened again during the 1st half of 2025. While all testing was done and results were within compliance range, late submittals must be reported here each year. 

What should I do? There is nothing you should do at this time. This is a reporting violation, and it does not affect the quality of your water.
What is being done? We have revised our submittal protocol to ensure this does not happen again in the future.
# 11035 & 11038
What happened? In the Borough of Tuckerton, we test 20 homes for lead and copper every summer. Once testing is completed and results are received from the laboratory, we are required to send copies of the results to each home tested. Once this is done, we are required to submit a certification to the NJDEP that this requirement has been met. During 2025, the certification for 2024 was inadvertently sent in late. After our 2025 testing, we had to re-test one home, and the notifications were delayed and therefore the certification was done late. These violations are required to be published in this report. 
What should I do? There is nothing you should do at this time. This is a reporting violation, and it does not affect the quality of your water.
What is being done? We have revised our submittal protocol to ensure this does not happen again in the future.
#11039
What happened? Every year in July, we must submit an annual Lead Service Line Replacement Plan. The Borough of Tuckerton does not have any lead pipes, joints or service lines. However, we are required to submit an annual update to this replacement plan each year. Due to the new DEP reporting portal coming online and issues we had with the submittal process, this update was late and as a result we received a violation.
What should I do? There is nothing you should do at this time. This is a reporting violation, and it does not affect the quality of your water.

What is being done? Since then, we submitted all necessary documentation regarding this violation. Information on Lead Service Lines and the service line inventory for the Borough is available. Again, the Borough has not been found to have any lead pipes joints or service lines in our water system at all.
Thank you for your attention.
We at the Tuckerton Borough Water Department work hard to provide top quality water to every tap. We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children's future. 
If you have any questions, please call our office at (609) 296-4900.
